DETERMINATION OF DEVELOPMENT APPLICATION

PENRITH CITY Council

| DESCRIPTION OF DEVELOPMENT |  |
| --- | --- |
| DA No. | DA12/0586 |
| Description of development | Shop Front & Fit-Out Works,Usage & Signage - Chocolateria San Churro (Shop 118A) |
| Classification of development | The classification of the building(s) forming part of this consent is as follows: - Class 6 |

| DETAILS OF THE APPLICANT |  |
| --- | --- |
| Name & Address | Choclateria San Churro P/L Suite 1, 281 Brunswick Street FITZROY VIC 3065 |

NOTES

- Your attention is drawn to the attached conditions of consent attachment 1. - You should also check if this type of development requires a construction certificate in addition to this development consent. - It is recommended that you read the Advisory Note enclosed with this consent.

| DETAILS OF THE LAND TO BE DEVELOPED |  |
| --- | --- |
| Legal Description: | Lot 1 DP 1137699 |
| Property Address: | Westfield Penrith 569-595 High Street PENRITH NSW 2750 |

| DECISION OF CONSENT AUTHORITY |  |
| --- | --- |
| In accordance with Section 81(1) (a) of the Environmental Planning and Assessment Act 1979, consent is granted subject to the conditions implementation in attachment 1. |  |
| Date from which consent operates | 16 August 2012 |
| Date the consent expires | 16 August 2014 |
| Date of Decision | 15 August 2012 |
| Please note that this consent will lapse on the expiry date unless the development has commenced in that time. |  |

| REVIEW OF DETERMINATION & RIGHTS OF APPEAL |  |
| --- | --- |
| - The applicant may request Council to review its determination pursuant to Section 82A of the Environmental Planning and Assessment Act 1979 within 6 months of receiving this Notice of Determination. You cannot make this request if the development is Designated Development, Integrated Development, or State Significant development. |  |
| - The applicant can appeal against this decision in the Land and Environment Court within six (6) months of receiving this Notice of Determination. You cannot appeal if a Commission of Inquiry was held for the subject development application, or if the development is a State Significant Development. |  |
| - Right of Appeal if the application was for Designated Development If a written objection was made in respect to the Application for Designated Development, the objector can appeal against Council’s decision to the Land and Environment Court within 28 days after the date of this Notice. The objector cannot appeal if a Commission of Inquiry was held. If the applicant appeals against Council’s decision, objector(s) will be given a notice of the appeal and the objector(s) can apply to the Land and Environment Court within 28 days after the date of this appeal notice to attend the appeal and make submissions at that appeal. |  |

| REASONS |  |
| --- | --- |
| The conditions in the attached schedule have been imposed for the following reasons: - To ensure compliance with the terms of the relevant Planning Instrument. - To ensure that no injury is caused to the existing and likely future amenity of the neighbourhood. - Due to the circumstances of the case and the public interest. - To ensure the structural integrity of the development. - To ensure the protection of the health and safety of the occupants of the development. |  |

| POINT OF CONTACT |  |
| --- | --- |
| If you have any questions regarding this consent you should contact: |  |
| Assessing officer | Josephine Maejiirs Environmental Planner |
| Contact telephone number | (02) 4732 8070 |

| SIGNATURE |  |
| --- | --- |
| Name | Josephine Maejiirs |
| Signature |  |
| For the Development Services Manager |  |

Attachment 1: Conditions of CONSENT

#### GENERAL

1	The development must be implemented substantially in accordance with the plans numbered CSC 2212, Drawing numbers 01B, 02B, 03B, 04B, 05B, 06B, drawn by P. Wright, dated July 2012 and stamped approved by Council, the application form and any supporting information received with the application, except as may be amended in red on the attached plans and by the following conditions.

2	The work must be carried out in accordance with the requirements of the Building Code of Australia. If the work relates to a residential building and is valued in excess of $20,000, then a contract of insurance for the residential development shall be in force in accordance with Part 6 of the Home Building Act 1989.

{Note: Residential building includes alterations and additions to a dwelling, and structures associated with a dwelling house/dwelling such as carport, garage, shed, rural shed, swimming pool and the like}.

3	The proprietor of the food business shall ensure that the requirements of the Food Act 2003 and Food Regulation 2010 are met at all times. All food shop construction works shall be carried out in accordance with the requirements of AS 4674-2004 “Design, Construction and Fitout of Food Premises,” the Food Act 2003 and Food Regulation 2010.

4	The development shall not be used or occupied until an Occupation Certificate has been issued.

5	The business is to be registered with Penrith City Council by completing the “Registration of Premises” form. This form is to be returned to Council prior to the commencement of the business.

6	All materials and goods associated with the use shall be contained within the building at all times.

7	The finishes of the premises to be maintained at all times and any graffiti or vandalism immediately removed/repaired.

8	A Construction Certificate shall be obtained prior to commencement of any 	building works.

#### ENVIRONMENTAL MATTERS

9	All waste materials stored on-site are to be contained within a designated area such as a waste bay or bin to ensure that no waste materials are allowed to enter the stormwater system or neighbouring properties. The designated waste storage areas shall provide at least two waste bays / bins so as to allow for the separation of wastes, and are to be fully enclosed when the site is unattended.

10	All excavated material and other wastes generated as a result of the development are to be re-used, recycled or disposed of in accordance with the approved waste management plan.

Waste materials not specified in the approved waste management plan are to be disposed of at a lawful waste management facility.  Where the disposal location or waste materials have not been identified in the waste management plan, details shall be provided to the Certifying Authority as part of the waste management documentation accompanying the Construction Certificate application.

All receipts and supporting documentation must be retained in order to verify lawful disposal of materials and are to be made available to Penrith City Council on request.

11	The operating noise level of plant and equipment shall not exceed 5dB(A) above the background noise level when measured at the boundaries of the premises. The provisions of the Protection of the Environment Operations Act 1997 apply to the development, in terms of regulating offensive noise.

#### BCA ISSUES

12	All aspects of the building design shall comply with the applicable performance requirements of the Building Code of Australia so as to achieve and maintain acceptable standards of structural sufficiency, safety (including fire safety), health and amenity for the on-going benefit of the community. Compliance with the performance requirements can only be achieved by:

(a)	complying with the deemed to satisfy provisions, or

(b)	formulating an alternative solution which:

	complies with the performance requirements, or

	is shown to be at least equivalent to the deemed to satisfy provision, or

(c)	a combination of (a) and (b).

It is the owner's responsibility to place on display, in a prominent position within the building at all times, a copy of the latest fire safety schedule and fire safety certificate/ statement for the building.

#### HEALTH MATTERS & OSSM INSTALLATION

13	All food shop construction works shall be carried out in accordance with the requirements of AS 4674-2004 Design, Construction and Fitout of Food Premises, the Food Act 2003 and Food Regulation 2010.

Detailed plans and specifications for the construction of the premises and 	installation of fittings, furnishings and equipment to all food preparation and storage areas are to be submitted with the Construction Certificate application regarding the fitout of the food shop. Particular attention is drawn to the following matters:

- The designated hand wash basin in the food preparation area must be supplied with warm water through a common spout in compliance with AS 4674-2004. This hand wash basin must also be supplied with soap and disposable paper towel. All hand wash basins must be hand free as required by AS 4674-2004.

- All walls are to be of solid construction as required by AS 4674-2004.

- All floor, wall and ceiling finishes throughout the premises must comply with AS 4674-2004. Drop in panel or false-ceilings are not permitted in food preparation or food storage areas. This includes areas where food is on display for sale.

- Adequate pest proofing must be provided to the premises.

- Provision must be made for the storage of garbage containers, containers for recyclable materials and compacters in an external area of the premises or in a room specifically for that purpose in accordance with Clause 2.4 of AS 4674-2004 Clause.

- All fixtures, fittings and equipment must comply with AS 4674-2004 section 4.

- The premises must be adequately ventilated in accordance with Clause 2.5 of AS 4674 -2004.

An inspection from Council's Environmental Health Department will be required prior

to operation of the business. The lessee is to contact Council on (02) 4732 7991 to

organise an appointment.

14	Cooking appliances which exceed a total maximum power input of 8kw for electrical, or a total gas input of 29MJ/h for a gas appliance are required to have a kitchen exhaust system installed in accordance with Clause F4.12 of the Building Code of Australia and Australian Standard AS 1668 Parts 1 & 2.

Details of the installation of the kitchen exhaust system shall be submitted with the Construction Certificate application.

The kitchen exhaust system must be designed to prevent or minimise air pollution including the emission of odours, vapours and oils in accordance with the Protection of the Environment Operations Act 1997.

Prior to the issue of an Occupation Certificate, the installer of the kitchen exhaust system (either the individual person or the Company who installed the exhaust system) shall certify or submit appropriate documentation (as instructed by the Principal Certifying Authority) that all practical pollution control measures have been installed to achieve the requirements of the Protection of the Environment Operations Act 1997.

#### CONSTRUCTION

15	Stamped plans, specifications, a copy of the development consent, the Construction Certificate and any other Certificates to be relied upon shall be available on site at all times during construction.

The following details are to be displayed in a maximum of 2 signs to be erected on the site:

	the name of the Principal Certifying Authority, their address and telephone number,

	the name of the person in charge of the work site and telephone number at which that person may be contacted during work hours,

	that unauthorised entry to the work site is prohibited,

	the designated waste storage area must be covered when the site is unattended, and

	all sediment and erosion control measures shall be fully maintained until completion of the construction phase.

Signage but no more than 2 signs stating the above details is to be erected:

	at the commencement of, and for the full length of the, construction works onsite, and

	in a prominent position on the work site and in a manner that can be easily read by pedestrian traffic.

All construction signage is to be removed when the Occupation Certificate has been issued for the development.

16	Glass installations within the building shall comply with AS 1288 and the Building Code of Australia. On completion of the glass installation, a report shall be submitted certifying compliance with AS 1288.

17	Construction works or subdivision works that are carried out in accordance with an approved consent that involve the use of heavy vehicles, heavy machinery and other equipment likely to cause offence to adjoining properties shall be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

	Mondays to Fridays, 7am to 6pm

	Saturdays, 7am to 1pm (if inaudible on neighbouring residential premises), otherwise 8am to 1pm

	No work is permitted on Sundays and Public Holidays.

Other construction works carried out inside a building/tenancy and that do not involve the use of equipment that emits noise are not restricted to the construction hours stated above.

The provisions of the Protection of the Environment Operations Act, 1997 in regulating offensive noise also apply to all construction works.

#### CERTIFICATION

18	Prior to the commencement of any earthworks or construction works on site, the proponent is to:

a)	employ a Principal Certifying Authority to oversee that the said works carried out on the site are in accordance with the development consent and related Construction Certificate issued for the approved development, and with the relevant provisions of the Environmental Planning and Assessment Act and accompanying Regulation, and

b)	submit a Notice of Commencement to Penrith City Council.

The Principal Certifying Authority shall submit to Council an “Appointment of Principal Certifying Authority” in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

Information to accompany the Notice of Commencement

Two (2) days before any earthworks or construction/demolition works are to commence on site (including the clearing site vegetation), the proponent shall submit a “Notice of Commencement” to Council in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

19	An Occupation Certificate is to be obtained from the Principal Certifying Authority on completion of all works and prior to the occupation/use of the cafe.

The Certificate shall not be issued if any conditions of this consent, but not the conditions relating to the operation of the development, are outstanding.

A copy of the Occupation Certificate and all necessary documentation supporting the issue of the Certificate is to be submitted to Penrith City Council, if Council is not the Principal Certifying Authority.

| Josephine Maejiirs |  |
| --- | --- |
| Signature |  |
| For the Development Services Manager |  |