[image: image1.jpg]#” & PENRITH
_“\/ CITY COUNCIL
Serving Our Community




	DETERMINATION OF DEVELOPMENT APPLICATION

	PENRITH CITY Council


	DESCRIPTION OF DEVELOPMENT

	DA No.
	DA12/1336

	Description of development
	Commercial Development - Alfresco Dining

	Classification of development
	The classification of the building(s) forming part of this consent is as follows:

· Class N/A


	DETAILS OF THE APPLICANT

	Name & Address
	D I Walker

1/6 Warwick Street

PENRITH  NSW  2750



	NOTES

	1. Your attention is drawn to the attached conditions of consent attachment 1.

2. You should also check if this type of development requires a construction certificate in addition to this development consent.

3. It is recommended that you read the Advisory Note enclosed with this consent.


	DETAILS OF THE LAND TO BE DEVELOPED

	
	

	Legal Description:
	Lot 2 DP 135120

	Property Address:
	457 Great Western Highway ST MARYS  NSW  2760


	DECISION OF CONSENT AUTHORITY

	
	

	In accordance with Section 81(1) (a) of the Environmental Planning and Assessment Act 1979, consent is granted subject to the conditions implementation in attachment 1.

	
	

	Date from which consent operates
	11 February 2013 

	Date the consent expires
	11 February 2015 

	Date of Decision
	11 February 2013

	Please note that this consent will lapse on the expiry date unless the development has commenced in that time.


	REVIEW OF DETERMINATION & RIGHTS OF APPEAL

	
	

	1. The applicant may request Council to review its determination pursuant to Section 82A of the Environmental Planning and Assessment Act 1979 within 6 months of receiving this Notice of Determination.

You cannot make this request if the development is Designated Development, 

Integrated Development, or State Significant development.



	2. The applicant can appeal against this decision in the Land and Environment Court within six (6) months of receiving this Notice of Determination. 

You cannot appeal if a Commission of Inquiry was held for the subject development application, or if the development is a State Significant Development.



	3. Right of Appeal if the application was for Designated Development

If a written objection was made in respect to the Application for Designated Development, the objector can appeal against Council’s decision to the Land and Environment Court within 28 days after the date of this Notice. The objector cannot appeal if a Commission of Inquiry was held.

If the applicant appeals against Council’s decision, objector(s) will be given a notice of the appeal and the objector(s) can apply to the Land and Environment Court within 28 days after the date of this appeal notice to attend the appeal and make submissions at that appeal.


	REASONS

	
	

	The conditions in the attached schedule have been imposed for the following reasons:

· To ensure compliance with the terms of the relevant Planning Instrument.

· To ensure that no injury is caused to the existing and likely future amenity of the neighbourhood.

· Due to the circumstances of the case and the public interest.

· To ensure the structural integrity of the development.

· To ensure the protection of the health and safety of the occupants of the development.


	POINT OF CONTACT

	If you have any questions regarding this consent you should contact:



	Assessing officer
	Jane Hetherington
Trainee Environmental Planner

	Contact telephone number 
	(02) 4732 7777


	SIGNATURE

	
	

	Name 
	Schandel Jefferys
Principal Planner

	Signature
	

	For the Development Services Manager


Attachment 1: Conditions of CONSENT

GENERAL

1
The development must be implemented substantially in accordance with the plans numbered and stamped approved by Council, the application form and any supporting information received with the application, except as may be amended in red on the attached plans and by the following conditions.

	Drawing Title
	Drawing No.
	Prepared By
	Dated

	Site Plan, Floor Plan and Elevations
	28.12 Issue A
	David Walker Pty Ltd
	20/08/2012


2
The work must be carried out in accordance with the requirements of the Building Code of Australia. If the work relates to a residential building and is valued in excess of $20,000, then a contract of insurance for the residential development shall be in force in accordance with Part 6 of the Home Building Act 1989.

{Note: Residential building includes alterations and additions to a dwelling, and structures associated with a dwelling house/dwelling such as carport, garage, shed, rural shed, swimming pool and the like}.

3
The proprietor of the food business shall ensure that the requirements of the Food Act 2003 and Food Regulation 2010 are met at all times. All food shop construction works shall be carried out in accordance with the requirements of AS 4674-2004 “Design, Construction and Fitout of Food Premises,” the Food Act 2003 and Food Regulation 2010.
4
The development shall not be used or occupied until an Occupation Certificate has been issued.
5
The eating area closest to the kerb shall be separated by a substantial physical barrier 
such as a planter box. The barrier should be a minimum of 60cm high and have no 
sharp edges. 

BCA ISSUES

6
All aspects of the building design shall comply with the applicable performance requirements of the Building Code of Australia so as to achieve and maintain acceptable standards of structural sufficiency, safety (including fire safety), health and amenity for the on-going benefit of the community. Compliance with the performance requirements can only be achieved by:

a)
complying with the deemed to satisfy provisions, or

b)
formulating an alternative solution which:

· complies with the performance requirements, or

· is shown to be at least equivalent to the deemed to satisfy provision, or

c)
a combination of (a) and (b).  

HEALTH MATTERS & OSSM INSTALLATION

7
All food shop construction works shall be carried out in accordance with the 
requirements of AS 4674-2004 Design Construction and Fitout of Food Premises, the Food 
Act 2003 and Food Regulation 2010.

8
The alfresco dining area shall comply with Smoke Free Environment Act 2000. 

CONSTRUCTION

9
Stamped plans, specifications, a copy of the development consent, the Construction Certificate and any other Certificates to be relied upon shall be available on site at all times during construction.

The following details are to be displayed in a maximum of 2 signs to be erected on the site:

· 
the name of the Principal Certifying Authority, their address and telephone number,

· 
the name of the person in charge of the work site and telephone number at which that person may be contacted during work hours,

· 
that unauthorised entry to the work site is prohibited,

· 
the designated waste storage area must be covered when the site is unattended, and

· 
all sediment and erosion control measures shall be fully maintained until completion of the construction phase.

Signage but no more than 2 signs stating the above details is to be erected:

· 
at the commencement of, and for the full length of the, construction works onsite, and

· 
in a prominent position on the work site and in a manner that can be easily read by pedestrian traffic.

All construction signage is to be removed when the Occupation Certificate has been issued for the development.

10
Construction works or subdivision works that are carried out in accordance with an approved consent that involve the use of heavy vehicles, heavy machinery and other equipment likely to cause offence to adjoining properties shall be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

· 
Mondays to Fridays, 7am to 6pm

· 
Saturdays, 7am to 1pm (if inaudible on neighbouring residential premises), otherwise 8am to 1pm

· 
No work is permitted on Sundays and Public Holidays.

Other construction works carried out inside a building/tenancy and do not involve the use of equipment that emits noise are not restricted to the construction hours stated above.

The provisions of the Protection of the Environment Operations Act, 1997 in regulating offensive noise also apply to all construction works.

ENGINEERING

11
Roofwater drains shall be discharged into the street gutter or common line. 

LANDSCAPING

12
Existing landscaping is to be retained and maintained at all times.

CERTIFICATION

13
Prior to the commencement of any earthworks or construction works on site, the proponent is to:

a)
employ a Principal Certifying Authority to oversee that the said works carried out 
on the site are in accordance with the development consent and related 
Construction Certificate issued for the approved development, and with the 
relevant provisions of the Environmental Planning and Assessment Act and 
accompanying Regulation, and

b)
submit a Notice of Commencement to Penrith City Council.


The Principal Certifying Authority shall submit to Council an “Appointment of Principal Certifying Authority” in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.


Information to accompany the Notice of Commencement

Two (2) days before any earthworks or construction/demolition works are to commence on site (including the clearing site vegetation), the proponent shall submit a “Notice of Commencement” to Council in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

14
An Occupation Certificate is to be obtained from the Principal Certifying Authority on completion of all works and use of the alfresco area.
The Certificate shall not be issued if any conditions of this consent, but not the conditions relating to the operation of the development, are outstanding.

A copy of the Occupation Certificate and all necessary documentation supporting the issue of the Certificate is to be submitted to Penrith City Council, if Council is not the Principal Certifying Authority.

	Schandel Jefferys


	Signature 


	

	For the Development Services Manager








Penrith City Council – Notice of Determination

Page 6 of 6

