DETERMINATION OF DEVELOPMENT APPLICATION

PENRITH CITY Council

| DESCRIPTION OF DEVELOPMENT |  |
| --- | --- |
| DA No. | DA13/0335 |
| Description of development | Fit-Out & Use as 24 Hour Gymnasium |
| Classification of development | The classification of the building(s) forming part of this consent is as follows: - Class 9b |

| DETAILS OF THE APPLICANT |  |
| --- | --- |
| Name & Address | Dean Musumeci C/- B. B. Fleming on behalf of Soho Holdings P/L 1/9 Marabang Way BELROSE NSW 2085 |

NOTES

- Your attention is drawn to the attached conditions of consent in Attachment 1. - You should also check if this type of development requires a Construction Certificate in addition to this development consent. - It is recommended that you read the Advisory Note enclosed with this consent.

| DETAILS OF THE LAND TO BE DEVELOPED |  |
| --- | --- |
| Legal Description: | Lot 1 DP 1137699 |
| Property Address: | Suite 002B, Westfield Penrith, 569-595 High Street, PENRITH NSW 2750 |

| DECISION OF CONSENT AUTHORITY |  |
| --- | --- |
| In accordance with Section 81(1)(a) of the Environmental Planning and Assessment Act 1979, consent is granted subject to implementation of the conditions in Attachment 1. |  |
| Date from which consent operates | 10 July 2013 |
| Date consent expires | 10 July 2015 |
| Date of decision | 8 July 2013 |
| Please note that this consent will lapse on the expiry date unless the development has commenced in that time. |  |

| REVIEW OF DETERMINATION & RIGHTS OF APPEAL |  |
| --- | --- |
| - The applicant may request Council to review its determination pursuant to Section 82A of the Environmental Planning and Assessment Act 1979 within six (6) months of receiving this Notice of Determination. You cannot make this request if the development is Designated Development, Integrated Development or State Significant Development. |  |
| - The applicant can appeal against this decision in the Land and Environment Court within six (6) months of receiving this Notice of Determination. You cannot appeal if a Commission of Inquiry was held for the subject Development Application or if the development is a State Significant Development. |  |
| - If a written objection was made in respect to an application for Designated Development, the objector can appeal against Council’s decision to the Land and Environment Court within 28 days after the date of this Notice. The objector cannot appeal if a Commission of Inquiry was held. If the applicant appeals against Council’s decision, the objector(s) will be given a notice of the appeal and the objector(s) can apply to the Land and Environment Court within 28 days after the date of this appeal notice to attend the appeal and make submissions at that appeal. |  |

| REASONS |  |
| --- | --- |
| The conditions in the attached schedule have been imposed for the following reasons: - To ensure compliance with the terms of the relevant Planning Instrument. - To ensure that no injury is caused to the existing and likely future amenity of the neighbourhood. - Due to the circumstances of the case and the public interest. - To ensure that adequate road and drainage works are provided. - To ensure that satisfactory arrangements are made to satisfy the increased demand for public recreation facilities. - To ensure that access, parking and loading arrangements will be made to satisfy the demands created by the development. - To ensure the structural integrity of the development. - To ensure the protection of the health and safety of the occupants of the development. |  |

| POINT OF CONTACT |  |
| --- | --- |
| If you have any questions regarding this consent you should contact: |  |
| Assessing officer | Pukar Pradhan Senior Environmental Planner |
| Contact telephone number | (02) 4732 7726 |

| SIGNATURE |  |
| --- | --- |
| Name | Robert Craig |
| Signature | Principal Planner |
| For the Development Services Manager |  |

Attachment 1: Conditions of CONSENT

#### GENERAL

1	The development must be implemented substantially in accordance with the plans numbered DA02, DA03 and DA04 (Revision A), drawn by Archi Spectrum, dated 15.04.2013 and stamped approved by Council, the application form and any supporting information received with the application, except as may be amended in red on the approved plans and by the following conditions.

2	The development shall not be used or occupied until an Occupation Certificate has been issued.

3	The approved operating hours are 24 hours daily.

4	All materials and goods associated with the use shall be contained within the building at all times.

5	The finishes of all structures and buildings are to be maintained at all times and any graffiti or vandalism immediately removed/repaired.

6	A Construction Certificate shall be obtained prior to the commencement of any building 	works.

7	All internal pathways and fixtures for the proposal shall comply with AS 1428.1.

8	No group fitness classes are to be run at the gymnasium.

9	Only patrons registered to access the premises are to be authorised to do so during non-staffed hours.

10	Child minding services are not to be provided at the gymnasium.

11	The approved Plan of Management prepared by Boston Blyth Flemming Pty Ltd is to be implemented and adhered to at all times.

12	All wastes generated as a result of the development are to be re-used, recycled or disposed of in accordance with the approved waste management plan. Waste materials not identified in the approved waste management plan are to be disposed of at a lawful waste management facility.

13	All areas intended to be used at night should have appropriate levels of visibility. Appropriate lighting must be provided, particularly to access routes into the gymnasium.

14	Prior to the issue of an Occupation Certificate, the proposed security system shall be installed and operational.

15	Entrances to the gymnasium should be at prominent positions and clearly visible and legible to users. The entrances should be designed to allow users to see into the building before entering and vice versa.

16	Entrances to toilets and change rooms should be clear of screening to allow surveillance by gym staff and other patrons.

17	Access to the office areas must be restricted to staff only. Signage shall be erected to identify areas with restricted access.

18	Toilet and change room cubicle doors should open outward to allow access in an emergency. Doors should also have spring-opening hinges to allow doors to remain open when not in use. Rear of toilet and shower doors should have hooks located half way down to ensure handbags cannot be accessed over the top of the door.

19	Management or/and the operator will need to be available at a mutually convenient time, at the invitation of Penrith City Council and/or the NSW Police, to discuss and action agreed community safety, security or other issues in conjunction with other local stakeholders in the area should the need arise.

#### ENVIRONMENTAL MATTERS

20	All waste materials stored on-site are to be contained within a designated area such as a waste bay or bin to ensure that no waste materials are allowed to enter the stormwater system or neighbouring properties. The designated waste storage areas shall provide at least two waste bays/bins so as to allow for the separation of wastes, and are to be fully enclosed when the site is unattended.

21	The operating noise level of plant and equipment shall not exceed 5dB(A) above the background noise level when measured at the boundaries of the premises. The provisions of the Protection of the Environment Operations Act 1997 apply to the development, in terms of regulating offensive noise.

22	The gymnasium activities are not to produce an audible echo or any reverberation that can be experienced outside of the gymnasium.

#### BCA ISSUES

23	A preliminary assessment of the plans submitted with the application has disclosed that the following design and/or construction issues need to be addressed prior to the issue of any Construction Certificate to ensure compliance with the Building Code of Australia (BCA):

- Toilet facilities are to be provided in accordance with Table F2.3 of the BCA.

24	Access and sanitary facilities for persons with disabilities are to be provided and maintained in accordance with the requirements of the Building Code of Australia and AS 1428.1 “Design for Access and Mobility”. Details of compliance are to be provided in the relevant plans and specifications accompanying the Construction Certificate application.

25	A fire safety list of essential fire or other safety measures shall be submitted to Penrith City Council prior to the issue of the Construction Certificate. The fire safety list shall specify all measures (both current and proposed) that are required for the building so as to ensure the safety of persons in the building in the event of fire. The fire safety list must distinguish between:

	the measures that are currently implemented in the building premises, and

	the measures that are to be proposed to be implemented in the building premises, and must specify the minimum standard of performance for each measure.

26	The owner of a building, to which an essential fire safety measure is applicable, shall provide Penrith City Council with an annual fire safety statement for the building. The annual fire safety statement for a building must:

(a)	deal with each essential fire safety measure in the building premises, and

(b)	be given:

	within 12 months after the last such statement was given, or

	if no such statement has previously been given, within 12 months after a final fire safety certificate was first issued for the building.

As soon as practicable after the annual fire safety statement is issued, the owner of the building to which the statement relates:

	must also provide a copy of the statement (together with a copy of the current fire safety schedule) to the Commissioner of New South Wales Fire Brigades, and

	prominently display a copy of the statement (together with a copy of the current fire safety schedule) in the building.

27	All aspects of the building design shall comply with the applicable performance requirements of the Building Code of Australia so as to achieve and maintain acceptable standards of structural sufficiency, safety (including fire safety), health and amenity for the on-going benefit of the community. Compliance with the performance requirements can only be achieved by:

(a)	complying with the deemed to satisfy provisions, or

(b)	formulating an alternative solution which:

	complies with the performance requirements, or

	is shown to be at least equivalent to the deemed to satisfy provision, or

(c)	a combination of (a) and (b).

It is the owner's responsibility to place on display, in a prominent position within the building at all times, a copy of the latest fire safety schedule and fire safety certificate/statement for the building.

28	In accordance with the requirements of Clause 94 of the Environmental Planning and Assessment Regulation 2000, the following works shall be completed to upgrade the fire safety of the premises prior to the issue of an Occupation Certificate:

(a)	All required exit doors are to be altered so that they open out in the direction of egress in accordance with Clause D2.20 of the Building Code of Australia (BCA).

(b)	All required exit doors are to be fitted with appropriate hardware that complies with Clause D2.21 of the BCA.

#### CONSTRUCTION

29	Stamped plans, specifications, a copy of the development consent, the Construction Certificate and any other Certificates to be relied upon shall be available on site at all times during construction.

The following details are to be displayed in a maximum of 2 signs to be erected on the site:

	the name of the Principal Certifying Authority, their address and telephone number,

	the name of the person in charge of the work site and telephone number at which that person may be contacted during work hours,

	that unauthorised entry to the work site is prohibited,

	the designated waste storage area must be covered when the site is unattended, and

	all sediment and erosion control measures shall be fully maintained until completion of the construction phase.

Signage but no more than 2 signs stating the above details is to be erected:

	at the commencement of, and for the full length of the, construction works onsite, and

	in a prominent position on the work site and in a manner that can be easily read by pedestrian traffic.

All construction signage is to be removed when the Occupation Certificate has been issued for the development.

30	Prior to the commencement of construction works:

- Toilet facilities at or in the vicinity of the work site shall be provided at the rate of one toilet for every 20 persons or part of 20 persons employed at the site. Each toilet provided must be:

- a standard flushing toilet connected to a public sewer, or

- if that is not practicable, an accredited sewage management facility approved by Council, or

- alternatively, any other sewage management facility approved by Council.

- If the work involved in the erection or demolition of a building is likely to cause pedestrian or vehicular traffic in a public place to be obstructed or rendered inconvenient, or involves the enclosure of a public place, a hoarding or fence must be 	erected between the work site and the public place:

- if necessary, an awning is to be erected, sufficient to prevent any substance from, or in connection with, the work falling into the public place,

- the work site must be kept lit between sunset and sunrise if it is likely to be hazardous to persons in the public place, and

- any such hoarding, fence or awning is to be removed when the work has been completed.

31	Construction works or subdivision works that are carried out in accordance with an approved consent that involve the use of heavy vehicles, heavy machinery and other equipment likely to cause offence to adjoining properties shall be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

	Mondays to Fridays, 7am to 6pm

	Saturdays, 7am to 1pm if inaudible on neighbouring residential premises, otherwise 8am to 1pm

	No work is permitted on Sundays and Public Holidays.

Other construction works carried out inside a building/tenancy that do not involve the use of equipment that emits noise are not restricted to the construction hours stated above.

The provisions of the Protection of the Environment Operations Act 1997 in regulating offensive noise also apply to all construction works.

#### CERTIFICATION

32	Prior to the commencement of any earthworks or construction works on site, the proponent is to:

a)	employ a Principal Certifying Authority to oversee that the said works carried out on the site are in accordance with the development consent and related Construction Certificate issued for the approved development, and with the relevant provisions of the Environmental Planning and Assessment Act and accompanying Regulation, and

b)	submit a Notice of Commencement to Penrith City Council.

The Principal Certifying Authority shall submit to Council an “Appointment of Principal Certifying Authority” in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

Information to accompany the Notice of Commencement

Two (2) days before any earthworks or construction/demolition works are to commence on site (including the clearing site vegetation), the proponent shall submit a “Notice of Commencement” to Council in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

33	An Occupation Certificate is to be obtained from the Principal Certifying Authority on completion of all works and prior to the occupation of the premises.

The Certificate shall not be issued if any conditions of this consent, but not the conditions relating to the operation of the development, are outstanding.

A copy of the Occupation Certificate and all necessary documentation supporting the issue of the Certificate is to be submitted to Penrith City Council, if Council is not the Principal Certifying Authority.

| Robert Craig |  |
| --- | --- |
| Signature |  |
| For the Development Services Manager |  |