DETERMINATION OF DEVELOPMENT APPLICATION

PENRITH CITY Council

| DESCRIPTION OF DEVELOPMENT |  |
| --- | --- |
| DA No. | DA13/0366 |
| Description of development | Solar Panels |
| Classification of development | The classification of the building(s) forming part of this consent is as follows: - Class 10b |

| DETAILS OF THE APPLICANT |  |
| --- | --- |
| Name & Address | E. Weller C/- PCC 601 High Street PENRITH NSW 2750 |

NOTES

- Your attention is drawn to the attached conditions of consent in Attachment 1. - You should also check if this type of development requires a Construction Certificate in addition to this development consent. - It is recommended that you read the Advisory Note enclosed with this consent.

| DETAILS OF THE LAND TO BE DEVELOPED |  |
| --- | --- |
| Legal Description: | Lot 8100 DP 876748 |
| Property Address: | 31 Blue Hills Drive, GLENMORE PARK NSW 2745 |

| DECISION OF CONSENT AUTHORITY |  |
| --- | --- |
| In accordance with Section 81(1)(a) of the Environmental Planning and Assessment Act 1979, consent is granted subject to implementation of the conditions in Attachment 1. |  |
| Date from which consent operates | 21 June 2013 |
| Date consent expires | 21 June 2015 |
| Date of decision | 21 June 2013 |
| Please note that this consent will lapse on the expiry date unless the development has commenced in that time. |  |

| REVIEW OF DETERMINATION & RIGHTS OF APPEAL |  |
| --- | --- |
| - The applicant may request Council to review its determination pursuant to Section 82A of the Environmental Planning and Assessment Act 1979 within six (6) months of receiving this Notice of Determination. You cannot make this request if the development is Designated Development, Integrated Development or State Significant Development. |  |
| - The applicant can appeal against this decision in the Land and Environment Court within six (6) months of receiving this Notice of Determination. You cannot appeal if a Commission of Inquiry was held for the subject Development Application or if the development is a State Significant Development. |  |
| - If a written objection was made in respect to an application for Designated Development, the objector can appeal against Council’s decision to the Land and Environment Court within 28 days after the date of this Notice. The objector cannot appeal if a Commission of Inquiry was held. If the applicant appeals against Council’s decision, the objector(s) will be given a notice of the appeal and the objector(s) can apply to the Land and Environment Court within 28 days after the date of this appeal notice to attend the appeal and make submissions at that appeal. |  |

| REASONS |  |
| --- | --- |
| The conditions in the attached schedule have been imposed for the following reasons: - To ensure compliance with the terms of the relevant Planning Instrument. - To ensure that no injury is caused to the existing and likely future amenity of the neighbourhood. - Due to the circumstances of the case and the public interest. - To ensure that adequate road and drainage works are provided. - To ensure that satisfactory arrangements are made to satisfy the increased demand for public recreation facilities. - To ensure that access, parking and loading arrangements will be made to satisfy the demands created by the development. - To ensure the structural integrity of the development. - To ensure the protection of the health and safety of the occupants of the development. |  |

| POINT OF CONTACT |  |
| --- | --- |
| If you have any questions regarding this consent you should contact: |  |
| Assessing officer | Jonathon Wood Consultant Environmental Planner |
| Contact telephone number | (02) 4732 7991 |

| SIGNATURE |  |
| --- | --- |
| Name | Robert Craig |
| Signature | Principal Planner |
| For the Development Services Manager |  |

Attachment 1: Conditions of CONSENT

#### GENERAL

1	The development must be implemented substantially in accordance with the following stamped approved plans:

- 	Solar Panel Installation Floor Plan & Section, Drawing No. MP-A-21-DA-2013-02, Rev. D, prepared by Penrith City Council and dated 22/4/2013;

- 	Solar Panel Installation Proposed and Existing South Elevation, Drawing No. MP-A-21-DA-2013-03, Rev. C, prepared by Penrith City Council and dated 22/4/2013;

- 	Solar Panel Installation Proposed and Existing North Elevation, Drawing No. MP-A-21-DA-2013-04, Rev. C, prepared by Penrith City Council and dated 22/4/2013;

- 	Upper Roof Plan Solar, Drawing No. S400, Rev. 02, prepared by Richmond + Ross and dated 22 April 2013;

- 	Framing Details, Drawing No. S401, Rev. 01, prepared by Richmond + Ross and dated 18 April 2013;

and any supporting information received with the application, except as may be amended in red on the attached plans and by the following conditions.

2	The approved works must be carried out in accordance with the requirements of the Building Code of Australia.

3	The development shall not be used or occupied until an Occupation Certificate has been issued.

4	The finishes of all structures are to be maintained at all times and any graffiti or vandalism immediately removed/repaired.

5	A Construction Certificate shall be obtained prior to commencement of any building 	works.

6 	The solar panels shall be installed in accordance with the manufacturer's and/or structural engineer's specifications.

#### ENVIRONMENTAL MATTERS

7	All waste materials stored on-site are to be contained within a designated area such as a waste bay or bin to ensure that no waste materials are allowed to enter the stormwater system or neighbouring properties. The designated waste storage areas shall provide at least two waste bays/bins so as to allow for the separation of wastes and are to be fully enclosed when the site is unattended.

8	All wastes generated as a result of the development are to be re-used, recycled or disposed of in accordance with the approved waste management plan.

Waste materials not specified in the approved waste management plan are to be disposed of at a lawful waste management facility.  Where the disposal location or waste materials have not been identified in the waste management plan, details shall be provided to the Certifying Authority as part of the waste management documentation accompanying the Construction Certificate application.

All receipts and supporting documentation must be retained in order to verify lawful disposal of materials and are to be made available to Penrith City Council on request.

#### BCA ISSUES

9	All aspects of the building design shall comply with the applicable performance requirements of the Building Code of Australia so as to achieve and maintain acceptable standards of structural sufficiency, safety (including fire safety), health and amenity for the on-going benefit of the community. Compliance with the performance requirements can only be achieved by:

a)	complying with the deemed to satisfy provisions, or

b)	formulating an alternative solution which:

	complies with the performance requirements, or

	is shown to be at least equivalent to the deemed to satisfy provision, or

c)	a combination of (a) and (b).

#### CONSTRUCTION

10	Stamped plans, specifications, a copy of the development consent, the Construction Certificate and any other Certificates to be relied upon shall be available on site at all times during construction.

The following details are to be displayed in a maximum of 2 signs to be erected on the site:

	the name of the Principal Certifying Authority, their address and telephone number,

	the name of the person in charge of the work site and telephone number at which that person may be contacted during work hours,

	that unauthorised entry to the work site is prohibited,

	the designated waste storage area must be covered when the site is unattended, and

	all sediment and erosion control measures shall be fully maintained until completion of the construction phase.

Signage but no more than 2 signs stating the above details is to be erected:

	at the commencement of, and for the full length of the, construction works onsite, and

	in a prominent position on the work site and in a manner that can be easily read by pedestrian traffic.

All construction signage is to be removed when the Occupation Certificate has been issued for the development.

11	Prior to the commencement of construction works:

- If the work involved in the erection or demolition of a building is likely to cause pedestrian or vehicular traffic in a public place to be obstructed or rendered inconvenient, or involves the enclosure of a public place, a hoarding or fence must be erected between the work site and the public place:

- if necessary, an awning is to be erected, sufficient to prevent any substance from, or in connection with, the work falling into the public place,

- the work site must be kept lit between sunset and sunrise if it is likely to be hazardous to persons in the public place, and

- any such hoarding, fence or awning is to be removed when the work has been completed.

12	Construction works or subdivision works that are carried out in accordance with an approved consent that involve the use of heavy vehicles, heavy machinery and other equipment likely to cause offence to adjoining properties shall be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

	Mondays to Fridays, 7am to 6pm

	Saturdays, 7am to 1pm if inaudible on neighbouring residential premises, otherwise 8am to 1pm

	No work is permitted on Sundays and Public Holidays.

Other construction works carried out inside a building/tenancy and that do not involve the use of equipment that emits noise are not restricted to the construction hours stated above.

The provisions of the Protection of the Environment Operations Act, 1997 in regulating offensive noise also apply to all construction works.

#### CERTIFICATION

13	Prior to the commencement of any earthworks or construction works on site, the proponent is to:

a)	employ a Principal Certifying Authority to oversee that the said works carried out on the site are in accordance with the development consent and related Construction Certificate issued for the approved development, and with the relevant provisions of the Environmental Planning and Assessment Act and accompanying Regulation, and

b)	submit a Notice of Commencement to Penrith City Council.

The Principal Certifying Authority shall submit to Council an “Appointment of Principal Certifying Authority” in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

Information to accompany the Notice of Commencement

Two (2) days before any earthworks or construction/demolition works are to commence on site (including the clearing site vegetation), the proponent shall submit a “Notice of Commencement” to Council in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

14	An Occupation Certificate is to be obtained from the Principal Certifying Authority on completion of all works.

The Certificate shall not be issued if any conditions of this consent, but not the conditions relating to the operation of the development, are outstanding.

A copy of the Occupation Certificate and all necessary documentation supporting the issue of the Certificate is to be submitted to Penrith City Council, if Council is not the Principal Certifying Authority.

| Robert Craig |  |
| --- | --- |
| Signature |  |
| For the Development Services Manager |  |