DETERMINATION OF DEVELOPMENT APPLICATION

PENRITH CITY Council

| DESCRIPTION OF DEVELOPMENT |  |
| --- | --- |
| DA No. | DA13/0382 |
| Description of development | Fit-Out & Use as 24 Hour Gymnasium |
| Classification of development | The classification of the building(s) forming part of this consent is as follows: - Class 9b |

| DETAILS OF THE APPLICANT |  |
| --- | --- |
| Name & Address | S. C. Casey 1 Bujan Street GLENMORE PARK NSW 2745 |

NOTES

- Your attention is drawn to the attached conditions of consent in Attachment 1. - You should also check if this type of development requires a Construction Certificate in addition to this development consent. - It is recommended that you read the Advisory Note enclosed with this consent.

| DETAILS OF THE LAND TO BE DEVELOPED |  |
| --- | --- |
| Legal Description: | Lot 1 DP 610862 |
| Property Address: | Centro Lennox Shopping Centre, Lot 1 Pyramid Street, EMU PLAINS NSW 2750 |

| DECISION OF CONSENT AUTHORITY |  |
| --- | --- |
| In accordance with Section 81(1)(a) of the Environmental Planning and Assessment Act 1979, consent is granted subject to implementation of the conditions in Attachment 1. |  |
| Date from which consent operates | 25 June 2013 |
| Date consent expires | 25 June 2015 |
| Date of decision | 21 June 2013 |
| Please note that this consent will lapse on the expiry date unless the development has commenced in that time. |  |

| REVIEW OF DETERMINATION & RIGHTS OF APPEAL |  |
| --- | --- |
| - The applicant may request Council to review its determination pursuant to Section 82A of the Environmental Planning and Assessment Act 1979 within six (6) months of receiving this Notice of Determination. You cannot make this request if the development is Designated Development, Integrated Development or State Significant Development. |  |
| - The applicant can appeal against this decision in the Land and Environment Court within six (6) months of receiving this Notice of Determination. You cannot appeal if a Commission of Inquiry was held for the subject Development Application or if the development is a State Significant Development. |  |
| - If a written objection was made in respect to an application for Designated Development, the objector can appeal against Council’s decision to the Land and Environment Court within 28 days after the date of this Notice. The objector cannot appeal if a Commission of Inquiry was held. If the applicant appeals against Council’s decision, the objector(s) will be given a notice of the appeal and the objector(s) can apply to the Land and Environment Court within 28 days after the date of this appeal notice to attend the appeal and make submissions at that appeal. |  |

| REASONS |  |
| --- | --- |
| The conditions in the attached schedule have been imposed for the following reasons: - To ensure compliance with the terms of the relevant Planning Instrument. - To ensure that no injury is caused to the existing and likely future amenity of the neighbourhood. - Due to the circumstances of the case and the public interest. - To ensure the structural integrity of the development. - To ensure the protection of the health and safety of the occupants of the development. |  |

| POINT OF CONTACT |  |
| --- | --- |
| If you have any questions regarding this consent you should contact: |  |
| Assessing officer | Kate Smith Graduate Environmental Planner |
| Contact telephone number | (02) 4732 7705 |

| SIGNATURE |  |
| --- | --- |
| Name | Robert Craig Principal Planner |
| Signature |  |
| For the Development Services Manager |  |

Attachment 1: Conditions of CONSENT

#### GENERAL

- The development must be implemented substantially in accordance with the following plans stamped approved by Council, the application form and any supporting information received with the application, except as may be amended in red on the approved plans and by the following conditions.

| Drawing Title | Plan/Sheet No. | Revision | Prepared By | Dated |
| --- | --- | --- | --- | --- |
| Signage Details | Attachment 3 | - | Signwave | 26 April 2013 |
| Proposed Club Layout | CD02 | a | ArchiSpectrum | 22 August 2012 |
| Site Plan | SK-01 | - | I2C Design & Management | 03 February 2013 |
| Equipment Layout | - | - | - | 20 June 2013 |

2	The development shall not be used or occupied until an Occupation Certificate has been issued.

3	The gymnasium is permitted to operate on a 24 hour basis, Monday to Sunday.

4	All materials and goods associated with the use shall be contained within the building at all times.

5	Prior to the issue of an Occupation Certificate, a lighting system shall be installed for the development to provide uniform lighting across common areas including the building's entrance, verandah and car park during the period from sunset to sunrise. The lighting system shall allow appropriate levels of visibility along access routes throughout the car park to the entrance of the gymnasium.

Exterior lighting shall be located and directed in such a manner so as not to create a nuisance to surrounding land uses. The lighting shall be the minimum level of illumination necessary for safe operation. The lighting shall be in accordance with AS 4282 “Control of the obtrusive effects of outdoor lighting” (1997). The lighting provided shall be vandal resistant and broken lighting must be promptly repaired as required.

6	The finishes of all structures and buildings are to be maintained at all times and any graffiti or vandalism immediately removed/repaired.

7	A Construction Certificate shall be obtained prior to commencement of any building works.

8 	Management shall be available at a mutually convenient time, at the invitation of Penrith City Council and/or the NSW Police, to discuss and action agreed community safety, security or other issues in conjunction with other local stakeholders in the area should the need arise.

9	Access to the office areas of the gymnasium shall be restricted to staff only. Prior to the issue of an Occupation Certificate, signage shall be erected to identify these areas with restricted access.

10	 Prior to the issue of an Occupation Certificate, the proposed security system shall be installed and operational.

11	 Group fitness classes shall not operate from the gymnasium.

12	Child minding services shall not be provided at the gymnasium.

13	The gymnasium activities shall not produce audible echo or any reverberation that can be experienced outside of the gymnasium.

14	Amplified music shall not be audible at the property boundary of the nearest affected residence.

15	The 'Plan of Management for Anytime Fitness Emu Plains, Shop B4, Centro Lennox' prepared by Shane Casey dated 29 April 2013 is to be implemented and adhered to at all times.

16	An accessible car space will need to be provided and located proximate to the building entry. The accessible car space shall be provided in accordance with AS 2890.6:2009.

### DEMOLITION

17	All demolition works are to be conducted in accordance with the provisions of AS 2601-1991 “The Demolition of Structures”. Prior to demolition, all services shall be suitably disconnected and capped off or sealed to the satisfaction of the relevant service authority requirements.

All demolition and excavated material shall be disposed of at a Council approved site or waste facility. Details of the proposed disposal location(s) of all excavated material from the development site shall be provided to the Principal Certifying Authority prior to commencement of demolition.

18	You should read Council's Fact Sheet titled "Handling and Disposal of Fibrous Cement Products" before any demolition works commence on the site.

Prior to commencement of demolition works on site, a portaloo with appropriate washing facilities shall be located on the site and the Principal Certifying Authority is to be satisfied that:

	Measures are in place so as to comply with the WorkCover Authority's "Short Guide to Working with Asbestos Cement" and

	The person employed to undertake the works is a licensed asbestos removal contractor and is holder of a current WorkCover Asbestos Licence.

Any demolition works involving the removal of all asbestos shall only be carried out by a licensed asbestos removal contractor who has a current WorkCover Asbestos Licence.

All asbestos laden waste including asbestos cement flat and corrugated sheeting must be disposed of at a tipping facility licensed by the Environmental Protection Authority to receive asbestos wastes.

19	Dust suppression techniques are to be employed during demolition to reduce any potential nuisances to surrounding properties.

20	Demolition works will be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

	Mondays to Fridays, 7am to 6pm

	Saturdays, 7am to 1pm if inaudible on neighbouring residential premises, otherwise 8am to 1pm

	No demolition work is permitted on Sundays and Public Holidays.

In the event that the demolition relates to works inside the building and do not involve external walls or the roof, and do not involve the use of equipment that emits noise then the demolition works are not restricted to the hours stated above.

The provisions of the Protection of the Environment Operations Act, 1997 in regulating offensive noise also apply to all construction works.

#### ENVIRONMENTAL MATTERS

21	All waste materials stored on-site are to be contained within a designated area such as a waste bay or bin to ensure that no waste materials are allowed to enter the stormwater system or neighbouring properties. The designated waste storage areas shall provide at least two waste bays/bins so as to allow for the separation of wastes, and are to be fully enclosed when the site is unattended.

22	A wastes generated as a result of the development are to be re-used, recycled or disposed of in accordance with the approved waste management plan.

Waste materials not specified in the approved waste management plan are to be disposed of at a lawful waste management facility.  Where the disposal location or waste materials have not been identified in the waste management plan, details shall be provided to the Certifying Authority as part of the waste management documentation accompanying the Construction Certificate application.

All receipts and supporting documentation must be retained in order to verify lawful disposal of materials and are to be made available to Penrith City Council on request.

#### BCA ISSUES

23	Access and sanitary facilities for persons with disabilities are to be provided and maintained in accordance with the requirements of the Building Code of Australia, AS 1428-2009 and the Disability (Access to Premises) Standards 2010. Details of compliance are to be provided in the relevant plans and specifications accompanying the Construction Certificate application.

Prior to the issue of an Occupation Certificate, a Compliance Certificate (or other documentation) prepared by a suitably qualified person shall be submitted attesting to the buildings compliance with the above standards.

24	The owner of a building, to which an essential fire safety measure is applicable, shall provide Penrith City Council with an annual fire safety statement for the building. The annual fire safety statement for a building must:

a)	deal with each essential fire safety measure in the building premises, and

b)	be given:

	within 12 months after the last such statement was given, or

	if no such statement has previously been given, within 12 months after a final fire safety certificate was first issued for the building.

As soon as practicable after the annual fire safety statement is issued, the owner of the building to which the statement relates:

	must also provide a copy of the statement (together with a copy of the current fire safety schedule) to the Commissioner of New South Wales Fire Brigades, and

	prominently display a copy of the statement (together with a copy of the current fire safety schedule) in the building.

25	All aspects of the building design shall comply with the applicable performance requirements of the Building Code of Australia so as to achieve and maintain acceptable standards of structural sufficiency, safety (including fire safety), health and amenity for the on-going benefit of the community. Compliance with the performance requirements can only be achieved by:

a) complying with the deemed to satisfy provisions, or

b) formulating an alternative solution which:

complies with the performance requirements, or

is shown to be at least equivalent to the deemed to satisfy provision, or

c) a combination of (a) and (b).

It is the owner's responsibility to place on display, in a prominent position within the building at all times, a copy of the latest fire safety schedule and fire safety certificate/statement for the building.

#### CONSTRUCTION

26	Stamped plans, specifications, a copy of the development consent, the Construction Certificate and any other Certificates to be relied upon shall be available on site at all times during construction.

The following details are to be displayed in a maximum of 2 signs to be erected on the site:

	the name of the Principal Certifying Authority, their address and telephone number,

	the name of the person in charge of the work site and telephone number at which that person may be contacted during work hours,

	that unauthorised entry to the work site is prohibited,

	the designated waste storage area must be covered when the site is unattended, and

	all sediment and erosion control measures shall be fully maintained until completion of the construction phase.

Signage but no more than 2 signs stating the above details is to be erected:

	at the commencement of, and for the full length of the, construction works onsite, and

	in a prominent position on the work site and in a manner that can be easily read by pedestrian traffic.

All construction signage is to be removed when the Occupation Certificate has been issued for the development.

27	Prior to the commencement of construction works:

- Toilet facilities at or in the vicinity of the work site shall be provided at the rate of one toilet for every 20 persons or part of 20 persons employed at the site. Each toilet provided must be:

- a standard flushing toilet connected to a public sewer, or

- if that is not practicable, an accredited sewage management facility approved by Council, or

- alternatively, any other sewage management facility approved by Council.

b)	If the work involved in the erection or demolition of a building is likely to cause pedestrian or vehicular traffic in a public place to be obstructed or rendered inconvenient, or involves the enclosure of a public place, a hoarding or fence must be erected between the work site and the public place:

- if necessary, an awning is to be erected, sufficient to prevent any substance from, or in connection with, the work falling into the public place,

- the work site must be kept lit between sunset and sunrise if it is likely to be hazardous to persons in the public place, and

- any such hoarding, fence or awning is to be removed when the work has been completed.

28	Construction works or subdivision works that are carried out in accordance with an approved consent that involve the use of heavy vehicles, heavy machinery and other equipment likely to cause offence to adjoining properties shall be restricted to the following hours in accordance with the NSW Environment Protection Authority Noise Control Guidelines:

	Mondays to Fridays, 7am to 6pm

	Saturdays, 7am to 1pm if inaudible on neighbouring residential premises, otherwise 8am to 1pm

	No work is permitted on Sundays and Public Holidays.

Other construction works carried out inside a building/tenancy that do not involve the use of equipment that emits noise are not restricted to the construction hours stated above.

The provisions of the Protection of the Environment Operations Act, 1997 in regulating offensive noise also apply to all construction works.

#### CERTIFICATION

29	Prior to the commencement of any earthworks or construction works on site, the proponent is to:

a)	employ a Principal Certifying Authority to oversee that the said works carried out on the site are in accordance with the development consent and related Construction Certificate issued for the approved development, and with the relevant provisions of the Environmental Planning and Assessment Act and accompanying Regulation, and

b)	submit a Notice of Commencement to Penrith City Council.

The Principal Certifying Authority shall submit to Council an “Appointment of Principal Certifying Authority” in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

Information to accompany the Notice of Commencement

Two (2) days before any earthworks or construction/demolition works are to commence on site (including the clearing site vegetation), the proponent shall submit a “Notice of Commencement” to Council in accordance with Section 81A of the Environmental Planning and Assessment Act 1979.

30	An Occupation Certificate is to be obtained from the Principal Certifying Authority on completion of all works and prior to the use of the tenancy as a gymnasium.

The Certificate shall not be issued if any conditions of this consent, but not the conditions relating to the operation of the development, are outstanding.

A copy of the Occupation Certificate and all necessary documentation supporting the issue of the Certificate is to be submitted to Penrith City Council, if Council is not the Principal Certifying Authority.

| Robert Craig |  |
| --- | --- |
| Signature |  |
| For the Development Services Manager |  |